- Bidding Documents for

the Supply and Delivery of

- Polymeric pipes for pressure water supply from PE-100 State Standard 18599-2001 and Armature

- to

OSCE Centre in Bishkek

- Invitation to Bid No. KYR-04 -2013

- March 2013

OSCE Centre in Bishkek

Date: 25 March 2013

# Invitation to Bid

- ITB No. KYR -04- 2013

- the Supply and Delivery of Polymeric pipes for pressure water supply from PE-100 State Standard 18599-2001 and Armature

to

OSCE Centre in Bishkek

- The OSCE Centre in Bishkek (“the OSCE”) invites Bids (“Bids”) from eligible and qualified companies for the supply and delivery of the following goods grouped in two lots:

- Lot 1: Polymeric pipes for pressure water supply from PE-100 State Standard 18599-2001

- Lot 2: Armature

(“the Goods”) and provision of associated services (“Associated Services”) according to the requirements as defined in the bidding documents (“the Bidding Documents”).

The Bidding Documents include:

Section I:	Instructions to Bidders (to be viewed at www.osce.org/procurement/)

Section II:	Bidding Data Sheet

Section III:	Bid Forms

Section IV:	Technical Specifications and Schedule of Requirements

Section V:	Form of Contract

Bids must be delivered to the below specified address on or before 15 April 2013, 12.00 hours (Osh time) clearly marked as follows:

OSCE CIB, Osh Field Office Attn: Chairman, OSCE CIB Proposal Opening Board Ref: ITB/KYR/04/2013 Lot 1 Supply of Polymeric pipes for pressure water supply from PE-100 State Standard 18599-2001 And\or Lot 2 Armature Deadline: 15 April 2013, 12:00 (Osh time) Address: 25 Alieva street, Osh, Kyrgyzstan Do Not Open, Except in Presence of the OSCE CIB Proposal Opening Board

Bids sent by email and facsimile will NOT be accepted .The prices shall be quoted in EURO or in KGS.

Partial Bids submitted as the following complete lots:

- Lot 1: Polymeric pipes for pressure water supply from PE-100 State Standard 18599-2001

- Lot 2: Armature

Will be accepted. Evaluation and award will be made per each lot separately.

The OSCE reserves the right to accept or reject any Bid, and to annul, in whole or in part, or to suspend the bidding process and reject all Bids at any time and without reason prior to award, without thereby incurring any liability to the affected Bidder or Bidders.

Potential bidders interested to receive a complete set of the Bidding Documents are kindly requested to contact the OSCE at the address indicated below.

For those companies having obtained the Bidding Documents, please kindly inform the OSCE at the address below on whether you intend to submit a Bid or abstain from participation. In case of non-participation, please kindly specify the reason(s).

Please address your queries or questions in writing at the address given below and kindly refrain from any telephone calls or personal visits.

| Ms. Karolina Semina Procurement Officer OSCE Centre in Bishkek; Fax: +(996 – 312) 66 31 69 E-mail: karolina.semina@osce.org. | E-mail: karolina.semina@osce.org Fax: +(996 – 312) 66 31 69 Fax: +(996 – 312) 66 31 69 |
| --- | --- |
| Or Mr. Rishat Saidkhodjaev Senior Procurement Assiatant | E-mail: Rishat.Saidkhodjaev@osce.org |

CONTENTS

Invitation to Bid	2

SECTION I - INSTRUCTIONS TO BIDDERS (ITB)	6

1.	Scope	7

2.	Eligibility of Bidders	7

3.	OSCE Privileges and Immunities	7

4.	Ethics	7

5.	Bidder’s Responsibilities	7

6.	One Bid per Bidder	8

7.	Language	8

8.	Clarification of Bidding Documents	8

9.	Amendments to Bidding Documents	8

10.	Documents comprising the Bid	8

11.	Alternative Bids	8

12.	Bid Prices	8

13.	Bid Currency	8

14.	Bidder’s Qualification	8

15.	Conformity of Goods	9

16.	Period of Validity of Bids	9

17.	Bid Security	9

18.	Format and Signing of Bid	10

19.	Submission, Sealing and Marking of Bids	10

20.	Deadline for the Receipt of Bids	10

21.	Late Bids	10

22.	Withdrawal, Modification and Substitution of Bids	10

23.	Opening of Bids	10

24.	Confidentiality	11

25.	Preliminary Examination	11

26.	Technical Evaluation	11

27.	Financial Evaluation	11

28.	Clarification of Bids	12

29.	Post-Qualification	12

30.	Award Criteria	12

31.	OSCE’s Right to Vary Quantities at Time of Award	12

32.	OSCE’s Right to Accept any Bid and to Reject any or all Bids	12

33.	Notification of Award	12

34.	Contract Formation	12

35.	Performance Security	12

Section II - BIDDING DATA SHEET	13

Section III – BID FORMS	14

Section III – A	Bid Submission Form	14

Section III – B	Qualification Information Form	15

Section III – C	Price Schedule	16

Section III – D	Bid Security Form	17

Section III –E	Manufacturer’s Authorization Form	18

Section IV - TECHNICAL SPECIFICATIONS AND SCHEDULE OF REQUIREMENTS	19

Section V –Form of CONTRACT	22

# SECTION I - INSTRUCTIONS TO BIDDERS (ITB)

Notes to Bidders: . This section provides detailed information necessary for Bidders to prepare their Bids, in accordance with the requirements specified by the OSCE. It also provides information on Bid submission, opening, and evaluation, and on the award of contract. Bidders shall read these Instructions to Bidders in conjunction with Section II, Bidding Data Sheet, of the Bidding Documents. These Instructions to Bidders will not be part of the Contract.

## 1.	Scope

1.1	The executive structure of the OSCE specified in the cover note of the Bidding Documents invites Bids for the Supply of Goods and Associated Services as described in the Bidding Documents.

## 2.	Eligibility of Bidders

2.1	This bidding is open to all eligible companies as defined in ITB Article 2.

2.2	The OSCE may, in its sole unfettered discretion, disqualify or otherwise determine ineligible any potential Bidder that the OSCE believes is, has been or will be, whether directly or indirectly, engaged in criminal or unethical behavior, financially unsound, or otherwise unfit to participate in the bidding exercise. This provision shall also be a condition precedent to, and continuing condition of, any Contract between the OSCE and a successful Bidder.

2.3	A Bidder shall not be eligible to participate in this bidding or in the performance of the contract under consideration if such Bidder, or any employee, executive, manager or director thereof:

- participated in the preparation of the concerned procurement notice or Bidding Documents, or any part thereof, being used by the OSCE; or

- received assistance in the preparation of its Bid or request to participate from a party that participated in the preparation of the concerned procurement notice or Bidding Documents, or any part thereof.

2.4	Government-owned enterprises may be eligible only if they (i) are legally and financially autonomous from the beneficiary, (ii) operate under applicable commercial law, and (iii) are not a dependent agency of the beneficiary of the Goods and Associated Services.

## 3.	OSCE Privileges and Immunities

3.1	Nothing in or relating to the Bidding Documents shall be deemed, or interpreted as a waiver of the privileges and immunities enjoyed by  the OSCE.

## 4.	Ethics

4.1	In accordance with general OSCE procurement principles, it is a requirement of the OSCE that Bidders, and any executive, manager or director thereof, shall observe the highest standards of ethics during each phase of any procurement and the execution of contracts.  The OSCE defines for this purpose:

- ‘coercive practice’ means harming or threatening to harm, directly or indirectly, persons or their property to influence their participation in a procurement or affect the execution of a contract;

- ‘collusive practice’ means a scheme or arrangement between two or more Bidders, designed to establish bid prices or other terms at artificial, non-competitive levels;

- ‘corrupt practice’ means the offering, giving, receiving, or soliciting, directly or indirectly, of anything, of value to influence the action of any OSCE official or any other person involved in any procurement or in contract execution;

- ‘fraudulent practice’ means a misrepresentation or omission of facts in order to influence a procurement or the execution of a contract.

4.2	The Bidder and all parties constituting the Bidder shall refrain from any conduct that could be detrimental to the goals of the OSCE. This includes but is not limited to an affiliation with any party who could be reasonably suspected of being involved in any activity that violates national or international law or accepted human rights standards.

4.3	Accordingly, the OSCE will:

- Reject a Bid if it determines that in competing for the contract the Bidder has, directly or through an agent, engaged in corrupt, fraudulent, collusive, coercive and other practices described in ITB Articles 4.1 and 4.2;

- Terminate a contract if it determines that in competing for, and in executing, the contract the contractor has, directly or through an agent, engaged in corrupt, fraudulent, collusive, coercive or other practices described in ITB Articles 4.1 and 4.2;

- Declare the Bidder ineligible, either indefinitely or for a stated period of time, from being awarded any contract by the OSCE if it at any time determines that in competing for, or in executing, the contract the Bidder has, directly or through an agent, engaged in corrupt, fraudulent, collusive, coercive or other practices described in ITB Articles 4.1 and 4.2 .

## 5.	Bidder’s Responsibilities

5.1	Bidders are expected to examine all instructions, forms, terms, and specifications in the Bidding Documents. Failure to furnish all information required by the Bidding Documents or to submit a Bid substantially responsive to the Bidding Documents in every respect will be at the Bidder’s risk and may result in the rejection of its Bid.

5.2	Bidders shall bear all costs associated with the preparation and submission of their Bids, including costs relating to contract award, and the OSCE will in no case be responsible or liable for those costs, regardless of the conduct or outcome of the bidding process.

5.3	Bidders must familiarize themselves with local conditions and take them into account in preparing their Bids.  To obtain information on the assignment, technical requirements, and on the local conditions, Bidders are encouraged to attend, at their own cost and risk, a pre-bid meeting/site visit, if one is specified in Section II, Bidding Data Sheet.  Attending the pre-bid meeting/on-site visit is optional.

## 6.	One Bid per Bidder

6.1	Each Bidder shall submit only one Bid.  A Bidder who submits or participates in more than one Bid (other than as a sub-contractor if sub-contracting was permitted or in case of alternative bids that have been permitted or requested pursuant to ITB Article 11) shall cause all Bids with the Bidder’s participation to be disqualified.

## 7.	Language

7.1	Unless another governing language is specified in Section II, Bidding Data Sheet, the governing language of the Bid prepared by the Bidder and all correspondence and documents exchanged between the Bidder and the OSCE shall be English.  Supporting documents and printed literature furnished by the Bidder may be in another language provided they are accompanied by an accurate translation in the English language, in which case, for purposes of interpretation of the Bid, the translation shall govern.

## 8.	Clarification of Bidding Documents

8.1	Any prospective Bidder wishing to clarify any contents in the Bidding Documents may notify in writing the contact person of the OSCE stated in the cover note to these Bidding Documents.

8.2	The OSCE will issue a clarification note in respect to any, in the opinion of the OSCE, reasonable request for clarification on the contents in the Bidding Documents, which is received no later than ten (10) calendar days prior to the deadline for the receipt of Bids.

8.3	Such clarification note, containing the OSCE’s response and a description of the contents of the query but without identifying the source thereof, shall be at the same time uploaded under the relevant procurement notice on the OSCE’s web-site at www.osce.org/procurement/tenders.

## 9.	Amendments to Bidding Documents

9.1	At any time but no less than seven (7) working days prior to the deadline for the receipt of Bids, the OSCE may, for any reason, whether at its own initiative or in response to a clarification requested by a prospective Bidder, modify the Bidding Documents by amendment which will be published under the relevant procurement notice on the OSCE’s web-site at www.osce.org/procurement/tenders.

9.2	All prospective Bidders are advised to regularly visit the OSCE web-site to view any amendment made to the Bidding Documents.  The clarifications and amendments issued pursuant to ITB Articles 8.3 and 9.1 will be binding on the Bidders.  The OSCE will assume neither responsibility nor liability for the Bidder's non-familiarity with any amendment issued pursuant to any provision herein.

9.3	In order to allow prospective Bidders reasonable time in which to take the amendment into account in preparing their Bids, the OSCE may extend the deadline for the receipt of Bids at any time but no less than five (5) working days prior to the original deadline of the receipt of Bids.

## 10.	Documents comprising the Bid

10.1	The Bid prepared by the Bidder shall comprise the Forms contained in Section III, Bid Forms, duly completed and signed by the Bidder and any other documents and/or information specified in Section II, Bidding Data Sheet.

## 11.	Alternative Bids

11.1	Unless otherwise specified in Section II, Bidding Data Sheet, alternative Bids shall not be considered.

## 12.	Bid Prices

12.1	The Bidder shall indicate on the appropriate Price Schedule the unit prices (where applicable) and total Bid Price of the offered goods in accordance with the terms specified in Section II, Bidding Data Sheet.

12.2	The terms FCA, DAP, etc., shall be governed by the rules prescribed in the current edition of INCOTERMS published by the International Chamber of Commerce, Paris.

12.3	The Bidder’s separation of price components will be solely for the purpose of facilitating the comparison of Bids by the OSCE and will not in any way limit the OSCE’s right to contract on any of the terms offered.

12.4	All non-exempt duties, taxes, and other levies payable under the Contract, or for any other cause shall be included in the prices submitted by the Bidder. Information on tax exemption contained in Section II, Bidding Data Sheet.

## 13.	Bid Currency

13.1	Unless otherwise specified in Section II, Bidding Data Sheet, the prices shall be quoted by the Bidder entirely in EURO.

## 14.	Bidder’s Qualification

14.1	Pursuant to ITB Article 10, the Bidder shall furnish, as part of its Bid, the Qualification Information Form and other relevant documents establishing the Bidder’s eligibility to bid and its qualifications to perform the Contract if its Bid is accepted.

14.2	The Bidder shall furnish as part of its Bid the documentary evidence establishing to the OSCE’s satisfaction the Bidder’s conformity with qualifications and eligibility requirements specified in the Bidding Documents. Such documentary evidence shall establish that:

(a)	in the case of a Bidder offering to supply the Goods under the Contract which the Bidder did not manufacture or otherwise produce, the Bidder has been duly authorized by the Goods’ Manufacturer or producer to supply such goods;

(b)	the Bidder has the financial, technical, and production capability necessary to perform the Contract;

(c)	in the case of a Bidder not doing business within the country where the Goods will be delivered, the Bidder is or will be (if awarded the Contract) represented by an agent in such country equipped and able to carry out the Contractor’s maintenance, repair, and spare parts-stocking obligations.

## 15.	Conformity of Goods

15.1	Pursuant to ITB Article 10, the Bidder shall furnish, as part of its Bid, the Bid Forms and other relevant documents establishing that the offered goods and associated services are conform to the Bidding Documents.

15.2	The documentary evidence of conformity of the offered goods and associated services to the Bidding Documents may be in the form of literature, drawings, printed materials, and data, and may include but not be limited to:

(a)	an item-by-item commentary establishing that the goods and services offered by the Bidder conform with the prescribed Technical Specifications and Schedule of Requirements, Section IV, demonstrating their substantial responsiveness, or a statement of deviations and exceptions to the provisions of the Technical Specifications and Schedule of Requirements;

(b)	as necessary, a detailed description of the essential technical and performance characteristics of the offered goods and associated services, including but not limited to information on available sources and current prices of spare parts, special tools, after-sales services etc as may be specified in Section IV, Technical Specifications and Schedule of Requirements.

15.3	Section IV, Technical Specifications and Schedule of Requirements, contain the minimum technical specifications and requirements prescribed by the OSCE.  For the purpose of the commentary and description required by this ITB Article 15, the Bidder shall confirm that the technical specifications and standards of its offered goods and associated services, as a minimum, comply with the requirements of the Bidding Documents.

## 16.	Period of Validity of Bids

16.1	Bids shall remain valid for the period specified in Section II, Bidding Data Sheet, after the deadline for the receipt of Bids.  A Bid valid for a shorter period shall be rejected by the OSCE as non-responsive.

16.2	In exceptional circumstances, the OSCE may solicit the Bidders’ consent to an extension of the period of validity.  The request and the responses thereto shall be made in writing.  The Bid Security provided under ITB Article 17 shall also be suitably extended.  A Bidder may refuse the request without forfeiting its Bid Security.  A Bidder granting the request will not be required nor permitted to modify its Bid.

## 17.	Bid Security

17.1	If specified in Section II, Bidding Data Sheet, the Bidder shall furnish, as part of its Bid, a Bid Security in the amount specified in Section II, Bidding Data Sheet.

17.2	The Bid Security is required to protect the OSCE against the risk of Bidder’s conduct, which would warrant the Bid Security’s forfeiture, pursuant to ITB Article 17.7.

17.3	If provided therefore under ITB Article 17.1, the Bid Security shall be denominated in the currency of the Proposal, shall be submitted in original, and shall be in one of the following forms:

(a)	a bank guarantee issued by a reputable bank in the form provided in Section III, Bid Forms, of the Bidding Documents or another form acceptable to the OSCE and valid for thirty (30) calendar days beyond the bid validity period stipulated by the OSCE; or

(b)	a cashier’s or certified check.

17.4	Any Bid not secured in accordance with ITB Articles 17.1 and 17.3 will be rejected by the OSCE as non-responsive.

17.5	Unsuccessful Bidders’ Bid Securities will be discharged or returned as promptly as possible, but not later than thirty (30) calendar days after the date of expiration of the bid validity period prescribed by the OSCE pursuant to ITB Article 16.

17.6	The successful Bidder’s Bid Security will be discharged upon such Bidder signing the Contract and furnishing the Performance Security, if applicable, pursuant to ITB Article 34.

17.7	The Bid Security may be forfeited:

(a)	if the OSCE determines, on the basis of objectively verifiable evidence, that such Bidder has provided materially false or misleading information to the OSCE;

(b)	if a Bidder (i) withdraws its Bid during the period of Bid validity specified by the Bidder on the Bid Submission Form, or (ii) does not accept the correction of errors pursuant to ITB Article 27.2; or

(c)	in the case of a successful Bidder, if the Bidder fails or refuses (i) to sign the Contract in accordance with ITB Article 34.2; or (ii) to furnish a Performance Security in accordance with ITB Article 35.

## 18.	Format and Signing of Bid

18.1	The Bidder shall prepare one original and the number of copies of the Bid indicated in Section II, Bidding Data Sheet, clearly marking each “ORIGINAL” and “COPY”, as appropriate. In the event of any discrepancy between them, the original shall govern.

18.2	The original and the copy or copies of the Bid shall be typed or written in indelible ink and shall be signed by the Bidder or a person or persons duly authorized to bind the Bidder to the Contract.

18.3	If the Bidder is a joint venture or consortium one member shall be appointed as being in charge with authority to bind the joint venture or consortium. Each member of such a joint venture or consortium will be jointly and severally liable for the Bid and any contract. The composition of the joint venture or the consortium must not be altered without the prior consent in writing of the OSCE.

18.4	Any interlineations, erasures, or overwriting shall be valid only if they are initialed by the person or persons signing the Bid.

## 19.	Submission, Sealing and Marking of Bids

19.1	Bidders may always submit their Bids by mail or by hand.  When so specified in Section II, Bidding Data Sheet, Bidders shall have the option of submitting their Bids electronically and/or by facsimile.  Bidders submitting their Bids by email or facsimile shall follow the procedures specified in Section II, Bidding Data Sheet. The Bidder shall seal the original and each copy of the Bid, including any alternative Bid, in separate envelopes, duly marking the envelopes as “ORIGINAL” and “COPY.”  These envelopes shall then be sealed in a second sealed outer envelope.

19.2	The inner and outer envelopes shall bear only:

(a)	the bid submission address indicated in the cover note to these Bidding Documents; and

(b)	 the OSCE Bidding Reference Number and Title indicated in the cover note to these Bidding Documents

(c)	the statement “DO NOT OPEN BEFORE” to be completed with the deadline for the receipt of Bids pursuant to ITB Article 20

(d)	the name and address of the Bidder

19.3	All inner and outer envelopes shall also indicate the name and address of the Bidder to enable the Bid to be returned unopened in case it is declared “late” or the Bid is validly withdrawn by the Bidder.

19.4	If the outer envelope is not sealed and marked as required by ITB Article 19.2, the OSCE will assume no responsibility for the misplacement or premature opening of the Bid.

## 20.	Deadline for the Receipt of Bids

20.1	Bids must be received by the OSCE at the address and no later than the time and date specified in the cover note to the Bidding Documents.

20.2	The OSCE may, at its discretion, extend the deadline for the receipt of Bids by amending the Bidding Documents in accordance with ITB Article 9, in which case all rights and obligations of the OSCE and Bidders previously subject to the deadline will thereafter be subject to the deadline as extended.

## 21.	Late Bids

21.1	Any Bid received by the OSCE after the deadline for receipt of Bids prescribed by the OSCE pursuant to ITB Article 20 will be rejected and returned unopened to the Bidder.

## 22.	Withdrawal, Modification and Substitution of Bids

22.1	The Bidder may withdraw, modify or substitute its Bid after the Bid’s submission, provided that written notice of the withdrawal, modification or substitution is received by the OSCE prior to the deadline prescribed for the receipt of Bids.

22.2	The Bidder’s withdrawal, modification or substitution notice shall be prepared, sealed, marked, and delivered in accordance with the provisions of ITB Article 19, with the outer envelope additionally marked “WITHDRAWAL”, “MODIFICATION” or “SUBSTITUTION,” as appropriate.

22.3	No Bid may be substituted or modified after the deadline for receipt of Bids.

22.4	No Bid may be withdrawn in the interval between the deadline for receipt of Bids and the expiration of the period of Bid validity specified in the cover note of these Bidding documents, or as extended pursuant to ITB Article 20.2.  Withdrawal of a Bid during this interval may result in the Bidder’s forfeiture of its Bid Security, pursuant to ITB Article 17.7 (b).

## 23.	Opening of Bids

23.1	In general, the OSCE Bid Opening Board will open Bids non-publicly.  Only if specifically provided for in Section II, Bidding Data Sheet, the OSCE will open Bids, including modifications and substitutions pursuant to ITB Article 22, in the presence of Bidders’ representatives who choose to attend, at the time, on the date, and at the place specified in Section II, Bidding Data Sheet. Any specific opening procedures required if submission of Bids by email and/or by facsimile is permitted in accordance with ITB Article 19.1 shall be as specified in Section II, Bidding Data Sheet.  The Bidders’ representatives who are present shall sign a register evidencing their attendance.

23.2	First, envelopes marked “WITHDRAWAL” shall be opened and read out.  Bids for which an acceptable notice of withdrawal has been submitted pursuant to ITB Article 22.1 shall not be opened and shall be returned unopened.  Next, envelopes marked “SUBSTITUTION” shall be opened and read out and exchanged with the corresponding Bid being substituted, and the substituted Bid shall not be opened, but returned to the Bidder.  Envelopes marked “MODIFICATION” shall be opened and read out with the corresponding Bid.  Only envelopes that are opened and read out at Bid opening shall be considered further.

23.3	All other envelopes shall be opened one at a time, reading out:  The Bidders’ names, Bid prices, discounts, and the presence or absence of requisite Bid Security and such other details as the OSCE, at its discretion, may consider appropriate, will be announced at the Bid Opening.

23.4	The Bids (including modifications and substitutions sent pursuant to ITB Article 19.2) that are not opened and read out at Bid Opening shall not be considered further for evaluation, irrespective of the circumstances.

## 24.	Confidentiality

24.1	Information relating to the examination, clarification, evaluation and comparison of Bids, and recommendation for Contract Award, shall not be disclosed prior to the date of formation of the Contract pursuant to ITB Article 34.

24.2	Any effort by a Bidder to influence the OSCE in its decisions on Bid evaluation, Bid comparison, or Contract Award will result in the rejection of the Bidder’s Bid.

## 25.	Preliminary Examination

25.1	The OSCE will examine the Bids to determine whether they are complete, whether a Bid Security, if required, has been furnished, whether the Forms contained in Section III, Bid Forms, or Section IV, Technical Specifications and Schedule of Requirements, have been properly completed and signed, and whether the Bids are generally in order.

25.2	If any of the Forms are missing, the Bid will be rejected.

## 26.	Technical Evaluation

26.1	The OSCE will evaluate the Bids that have been determined to be substantially responsive to the administrative requirements as a result of preliminary examination pursuant to ITB Article 25.

26.2	The OSCE will evaluate the technical aspects of the Bids to confirm that all technical specifications and requirements specified in the Bidding Documents have been met without any material deviation, reservation or omission. A material deviation, reservation, or omission is one that:

(a)	affects in any substantial way the scope, quality, or performance of the Goods and Associated Services; or

(b)	limits in any substantial way, inconsistent with the Bidding Documents, the OSCE’s rights or the Bidder’s obligations; or

(c)	if rectified would unfairly affect the competitive position of other Bidders presenting substantially responsive Bids.

26.3	If a Bid is not substantially responsive, it will be rejected by the OSCE and may not subsequently be made responsive by the Bidder by correction of the nonconformity

## 27.	Financial Evaluation

27.1	The OSCE will evaluate the Bids that have been determined to be substantially responsive to the administrative and technical requirements, pursuant to ITB Articles 25 and 26.

27.2	Arithmetical errors will be rectified on the following basis.  If there is a discrepancy between the unit price and the total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail, and the total price shall be corrected unless in the opinion of the OSCE there is an obviously gross misplacement of the decimal point in the unit price, in which case the line item total as quoted will govern, and the unit rate will be corrected.  If there is an error in a total corresponding to the addition or subtraction of subtotals, the subtotals shall prevail and the total shall be corrected.  If there is a discrepancy between words and figures, the amount in words will prevail.  The amount stated in the Bid will be adjusted by the OSCE in accordance with the above procedure for the correction of errors and, with the concurrence of the Bidder, shall be considered as binding upon the Bidder.  If the Bidder does not accept the corrected amount, the Bid will be rejected, and the Bid Security may be forfeited in accordance with ITB Article 17.7.

27.3	Unless otherwise specified in accordance with ITB Article 13.1, Bids shall be evaluated as quoted in EURO. In the event, the OSCE has permitted bid prices in several currencies, the OSCE shall convert all bid prices expressed into the amounts in EURO, using the selling exchange rates established by the source specified in Section II, Bidding Data Sheet, for the date in which the deadline for the receipt of Bids was set by the OSCE.

27.4	The financial evaluation may take into account, in addition to the Bid price, other factors as specified in Section II, Bidding Data Sheet.

## 28.	Clarification of Bids

28.1	During evaluation of the Bids, the OSCE may ask any Bidder for a clarification of its Bid.  The request for clarification and the response shall be in writing, and no change in the prices or substance of the Bid shall be sought, offered, or permitted.  Failure by any Bidder to timely and duly respond to a request for clarification will result in the rejection of its Bid.

## 29.	Post-Qualification

29.1	In the absence of prequalification, the OSCE will determine to its satisfaction whether the Bidder that is selected as having submitted the lowest evaluated responsive Bid is qualified to perform the contract satisfactorily, in accordance with the criteria listed in ITB Articles 14 and 15.

29.2	The determination will take into account the Bidder’s financial, technical, and production capabilities.  It will be based upon an examination of the documentary evidence of the Bidder’s qualifications and capabilities submitted by the Bidder, pursuant to ITB Articles 14 and 15.

29.3	An affirmative determination will be a prerequisite for award of the contract to the Bidder.  A negative determination will result in rejection of the Bidder’s Bid, in which event the OSCE will proceed to the next lowest evaluated Bid to make a similar determination of that Bidder’s capabilities to perform satisfactorily.

## 30.	Award Criteria

30.1	Subject to ITB Articles 34 and 35, the OSCE will award the Contract to the successful Bidder whose Bid has been determined to be the lowest priced one among substantially responsive Bids, provided further that the Bidder is determined to be qualified to perform the Contract satisfactorily.

## 31.	OSCE’s Right to Vary Quantities at Time of Award

31.1	The OSCE reserves the right at the time of award to increase or decrease, by up to fifteen (15) percent, the quantity of Goods originally specified in the Bidding Documents without any change in unit price or other terms and conditions.

## 32.	OSCE’s Right to Accept any Bid and to Reject any or all Bids

32.1	The OSCE reserves the right to accept or reject any Bid, and to annul, in whole or in part, or to suspend the Bidding process and reject all Bids at any time and without reason prior to award, without thereby incurring any liability to the affected Bidder or Bidders.

## 33.	Notification of Award

33.1	Prior to the expiration of the period of Bid Validity, the OSCE will notify the successful Bidder in writing, e.g. by facsimile or registered letter, that its Bid has been accepted.

## 34.	Contract Formation

34.1	At the time of or promptly after notification of award, the OSCE will send the successful Bidder the Contract.

34.2	Within the period specified in Section II, Bidding Data Sheet, the successful Bidder shall sign, date, stamp and return one original set to the OSCE.

34.3	Upon receipt by the OSCE of one original set of signed and stamped Contract and the furnishing of a Performance Security (if one is required), in form and content acceptable to the OSCE in accordance with ITB Article 35.1, the OSCE shall notify the unsuccessful Bidders, and shall promptly discharge the Bid Securities, if any, of the winning Bidder and the unsuccessful Bidders, in accordance with ITB Article 17.

## 35.	Performance Security

35.1	Within twenty (20) calendar days of the date of notification of award by the OSCE, the successful Bidder shall furnish a Performance Security in an amount, form and format as provided for in Section II, Bidding Data Sheet.

35.2	Failure of the successful Bidder to comply with the requirement of ITB Article 35.1 and ITB Article 34.2 shall constitute sufficient grounds for the annulment of the award and forfeiture of the Bid Security, in which event the OSCE may make the award to the next lowest evaluated Bidder or call for new Bids.

# Section II - BIDDING DATA SHEET

Note to Bidders: This Bidding Data Sheet should be read in conjunction with Section I “Instructions to Bidders”.

| Instructions to Bidders |  | Amendment/Modification of Relevant Article in the Instructions to Bidders |
| --- | --- | --- |
| ITB Article | Description |  |
| 5.3 | Pre-Bid Meeting/ On-Site Visit | A pre-bid meeting/site visit will not be held. |
| 7.1 | Governing Language | The language of the Bid and all correspondence and documents exchanged between the Bidder and the OSCE shall be English |
| 11.1 | Alternative Bids | Alternative Bids will not be considered. |
| 12.1 | Terms | For the goods to be imported into Kyrgyzstan under this contract: DAP Isfana, Kyrgyzstan For the goods to be supplied from Kyrgyzstan: DDP 20 Lesnaya str., Isfana town. |
| 12.4 | Tax Exemption | The goods supplied under the contract resulting from this ITB will be VAT exempt. Therefore, please indicate all unit prices without VAT and indicate the amount of the VAT as a separate line in Section III-C. |
| 16.1 | Bid Validity Period | The Bid validity period 90 calendar days past the deadline for the receipt of .bids. |
| 17.1 | Bid Security | The Bid Security is required: YES. Amount of Bid Security: 1,440 EUR |
| 18.1 | Number of Copies of Bid | Bidders must submit one original and one additional copy of each Bid |
| 19.1 | Submission of Bids by Email and/or Facsimile | Bidders may submit their Bids by email and facsimile: NO |
| 23.1 | Bid Opening | Bids will be opened publicly: No |
| 27.3 | Source of Exchange Rate | if KGS are allowed: OSCE official exchange rate applicable for the date of submission deadline |
| 27.4 | Criteria for Evaluation | Criteria for evaluation: price |
| 34.2 | Contract Formation | The period is 10 calendar days from the date of receipt of the Contract. |
| 35.1 | Performance Security | Performance Security “shall”not be required. |

# Section III – BID FORMS

Note to Bidders: It is mandatory that the Bidder duly completes and signs the Bid Submission Form and other forms contained in this Section.

## Section III – A	Bid Submission Form

Date [Bidder to insert date]

ITB No KYR-04-2013

To:	OSCE Centre in Bishkek

Having examined the Bidding Documents for ITB No 02-2013 and any addenda thereof, the receipt of which is hereby duly acknowledged, we, the undersigned, offer to supply and deliver the Goods and provide Associated Services for the following complete lot(s):

- Lot 1: Polymeric pipes for pressure water supply from PE-100 State Standard 18599-2001

- Lot 2: Armature

{Bidder shall indicate the lot(s) he is bidding for}

,in conformity with the said Bidding Documents for the price(s) quoted in the Price Schedule attached herewith and made part of this Bid.

We hereby declare that all the information and statements made in our Bid are true and accept that any misinterpretation contained in it may lead to our disqualification.

We agree to abide by this Bid for the Bid Validity Period specified in the Bidding Documents, and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

We accept and agree that the terms and conditions of Contract contained in the Bidding Documents will apply to any contract resulting from this bidding exercise.

We further represent and warrant that we are not participating, as Bidders, in more than one Bid in this Bidding process.

We understand that the OSCE is not bound to accept any Bid, and that the OSCE reserves the right to accept or reject any Bid and to annul or suspend the bidding process whether in whole or in part and to reject all Bids at any time prior to the award of contract, without the OSCE incurring any liability whatsoever.

We certify and confirm that we comply with the eligibility requirements stated in ITB Article 2 of the Bidding Documents.

Yours sincerely,

Authorized Signature:

Name and Title of Signatory:

Name of Firm:

Address:

Date:

## Section III – B	Qualification Information Form

Note to Bidders: The Bidder shall fill in and submit this Qualification Information Form as part of its Bid.

General Information

| 1. Name of Bidder: |  |  |  |  |
| --- | --- | --- | --- | --- |
| 2. Street Address: | Postal Code: |  | City: | Country: |
| 3. P.O. Box and Mailing Address: |  |  |  |  |
| 4. Telephone Number: |  |  |  |  |
| 5. Fax Number: |  |  |  |  |
| 6. E-mail Address: |  |  |  |  |
| 7. www Domain: |  |  |  |  |
| 8a. Contact Name: |  |  |  |  |
| 8b. Contact Title: |  |  |  |  |
| 9. Parent Company, if any (full legal name): |  |  |  |  |
| 10. Principal subsidiaries, associates, and/or representative(s), if any and relevant to the Services: |  |  |  |  |
| 11. Corporate Seat: |  |  |  |  |
| 12. Type of Business: |  |  |  |  |
| 13. Year Established: |  |  |  |  |
| 14. Number of Staff Employed: |  |  |  |  |

Financial Information

| 15. For the last three financial years: |  |  |
| --- | --- | --- |
| Year | Turnover (EUR) | Working Capital (EUR) |

[Bidder to attach the audited financial statements for the last year]

Experience

| 16. Contracts of similar scale/volume during the last three years: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Customer Name and Contact Details | Value (EUR) | Year | Goods and Associated Services Provided | Country |

Signature of Bidder: ____________

## Section III – C	Price Schedule

Note to Bidders: The Bidder shall fill in this Price Schedule and the list of line items of the Price Schedule shall coincide with the list of Goods and Associated Services specified by the OSCE in Section IV “Technical Specifications and Schedule of Requirements”.

LOT#1: Polymeric pipes for pressure water supply from PE-100 State Standard 18599-2001

| # | Item | Unit Price, EUR or KGS DAP Isfana Kyrgyzstan or DDP 20 Lesnaya str., Isfana town | Quantity | Unit Price, EUR or KGS DAP Isfana Kyrgyzstan or DDP 20 Lesnaya str., Isfana town |
| --- | --- | --- | --- | --- |
| 1. | Pipe diametr-140 mm, wall thickness 5,4 mm. |  | 3000 rm |  |
| 2. | Pipe diametr-140 mm, wall thickness 6,7 mm. |  | 3650 rm |  |
| 3. | Pipe diametr-140 mm, wall thickness 8,3 mm. |  | 140 rm |  |
| 4. | Pipe diametr-110 mm, wall thickness 4,2 mm. |  | 3150 rm |  |
| 5. | Pipe diametr-50 mm, wall thickness 2,0 mm. |  | 350 rm |  |
| 6. | Plastic pipes welding machine. |  | 2 pcs. |  |
| TOTAL PRICE |  |  |  |  |
| Amount of VAT, if applicable: |  |  |  |  |
| In case of DAP price the cost of delivery to the place of final destination: |  |  |  |  |

Signature of Bidder: ____________

LOT#2: Armature

| # | Item | Unit Price, EUR or KGS DAP Isfana Kyrgyzstan or DDP 20 Lesnaya str., Isfana town | Quantity | Unit Price, EUR or KGS DAP Isfana Kyrgyzstan or DDP 20 Lesnaya str., Isfana town |
| --- | --- | --- | --- | --- |
| 1. | Armature А – III diameter 12mm |  | 6000ton |  |
| TOTAL PRICE |  |  |  |  |
| Amount of VAT, if applicable: |  |  |  |  |
| In case of DAP price the cost of delivery to the place of final destination: |  |  |  |  |

Signature of Bidder: ____________

## Section III – D	Bid Security Form

Note to Bidders: If a Bid Security is required by the OSCE, this Form should be printed out on the corporate letter head of bank/financial institution.

To: OSCE Centre in Bishkek

[The Bank shall fill in this Bank Guarantee Form in accordance with the instructions indicated.]

________________________________
[Bank’s Name, and Address of Issuing Branch or Office]

Beneficiary:	OSCE Centre in Bishkek

Date:	________________

BID SECURITY No.:	_________________

We have been informed that [name of the Bidder] (hereinafter called "the Bidder") has submitted to you its bid dated (hereinafter called "the Bid") for the following lot(s):

Furthermore, we understand that, according to your conditions, bids must be supported by a bid security.

At the request of the Bidder, we [name of bank/financial institution] hereby irrevocably undertake to pay you any sum or sums not exceeding in total an amount of 1,440 EUR  ([amount in words]) upon receipt by us of your first demand in writing accompanied by a written statement stating that the Bidder is in breach of its obligation(s) under the bidding conditions, because the Bidder:

(a) 	has withdrawn its Bid during the period of bid validity specified by the Bidder on the Bid Submission Form; or

(b)	has provided materially false or misleading information to the OSCE;

(c) 	does not accept the correction of errors in accordance with the Bidding Documents; or

(d)	having been notified of the acceptance of its Bid by the OSCE during the period of bid validity, (i) fails or refuses to sign the Contract; or (ii) fails or refuses to furnish the performance security, if required, in accordance with the Bidding Documents.

This guarantee will expire: (a) if the Bidder is the successful bidder, upon our receipt of copies of the contract signed by the Bidder and the performance security issued to you upon the instruction of the Bidder; or (b) if the Bidder is not the successful bidder, upon the earlier of (i) our receipt of a copy of your notification to the Bidder of the name of the successful bidder; or (ii) thirty (30) calendar days after the expiration of the Bidder’s Bid validity.

Consequently, any demand for payment under this guarantee must be received by us at the office on or before that date.

____

[signature and corporate seal of bank/financial institution]

## Section III –E	Manufacturer’s Authorization Form

Note to Bidders: The Bidder shall require the Manufacturer to fill in this Form in accordance with the instructions indicated. This letter of authorization should be on the original letterhead of the Manufacturer and should be signed by a person with the proper authority to sign documents that are binding on the Manufacturer. The Bidder shall include it in its Bid, if so indicated in the Bidding Data Sheet. .

To OSCE Centre in Bishkek

WHEREAS [name of the Manufacturer] who are established and reputable manufacturers of [name and/or description of the Goods] having factories at [address of factory].

do hereby authorize [name and address of the Bidder] to submit a Bid, and subsequently negotiate and sign the Contract with you against the Invitation to Bid No. [please insert Bidding Reference No] for the above Goods manufactured by us.

We hereby extend our full guarantee and warranty for the Goods offered by the above Bidder against this Invitation to Bid.

[Signature for and on behalf of Manufacturer]

# Section IV - TECHNICAL SPECIFICATIONS AND SCHEDULE OF REQUIREMENTS

LOT#1: Polymeric pipes for pressure water supply from PE-100 State Standard 18599-2001

| # | Requirements Technical Specifications/Description | Compliance Remarks The Bidders are required to put item-by-item commentary demonstrating compliance with or a statement of deviations from the requirements. |
| --- | --- | --- |
| 1 | Polymeric pipe Ø -140mm.,wall thickness min. 5.4 mm., weight of 1 running meter (rm)- 2.31kg., SDR*-26, PN-6,3 |  |
| 2 | Polymeric pipe Ø -140mm., wall thickness min. 6,7 mm., weight of 1 running meter (rm)- 2.83kg., SDR*-21, PN-8 |  |
| 3 | Polymeric pipe Ø -140mm., wall thickness min. 8,3 mm., weight of 1 running meter (rm)- 3.48kg., SDR*-17, PN-10 |  |
| 4 | Polymeric pipe Ø -110mm. wall thickness min. 4,2 mm. weight of 1 running meter (rm)- 1.42kg. SDR*-26 PN-6,3 |  |
| 5 | Polymeric pipe Ø -50mm., wall thickness min. 2,0 mm., weight of 1 running meter (rm)- 0.31kg., SDR*-26, PN-6,3 |  |
| 6 | Universal plastic pipes welding machine Minimum requirements: Supplied format of pipes PE Ø 50–110 mm SDR ≥ 9 Butt welding unit with PTFE-coated heating element 230 V, 50–60 Hz, 1200 W. Adjustable temperature 180–290°C, preset for PE pipes. Electronic temperature control. Protective cover for heating element. Electric planing device 230 V,50-60 Hz, 500 W. Pressing device. Quick clamping device, also for angular branches, consisting of 2 vices with 2 clamping inserts each Ø 50, 56, 63, 75, 90, 110, 125, 135, 140, 160 mm. Steel case for pipe support inserts and clamp inserts. Tubular stand = base frame = carrying device |  |
|  | All the pipes should have: - Certificate of quality and meet sanitary and hygiene standards - .Testing certificate or report |  |
|  | The outside of all plumbing grade plastic pipe should be labeled with the following information: - Manufacturer of the Pipe - The Standard the Pipe Conforms to - Pipe Size - Pressure Rating - Pipe dimensions - Date of manufacturing - A Laboratory Seal or Mark |  |
|  | Polymeric pipes for pressure water supply of PE-100 should meet the standard GOST-18599-2001 or ISO 4427-96. |  |
|  | Delivery period: 4 weeks from the date of contract signature by both parties |  |
|  | Warranty period: for the water pipes: minimum 3 years and minimum 1 year for welding machine. |  |
|  | Address of the final place of destination (in case of DDP delivery): 20 Lesnaya str., Isfana, KR |  |

* Standard Dimension Ratio in English

Signature of Bidder: _____________________________

LOT#2: Armature

| # | Technical Specifications/Description | Compliance Remarks The Bidders are required to specify make/model and put item-by-item commentary on the Technical Specifications demonstrating substantial responsiveness of the Goods to those specifications, or a statement of deviations and exceptions to the provisions of the Technical Specifications. |
| --- | --- | --- |
| 1 | Armature (grooved fitting) class A-III Diameter -12 mm. Weight of 1 running meter min.-0.888 kg. |  |
|  | Armature must has: Certificate of quality. |  |
|  | Armature should meet standard GOST5781-82 or DIN 488, EN 10080, ISO10544 |  |
|  | Place of final destination in case of DDP delivery: 20, Lesnaya str., Isfana, KR |  |
|  | Delivery period: 4 weeks from the date of contract signature by both parties |  |

Signature of Bidder: _____________________________

# Section V – CONTRACT

| CONTRACT № IRMA-Generated or Other Number | ДОГОВОР № присваиваемый системой или какой-либо другой |
| --- | --- |
| between the | между |
| ORGANIZATION FOR SECURITY AND CO-OPERATION IN EUROPE OSCE Centre in Bishkek | ОРГАНИЗАЦИЕЙ ПО БЕЗОПАСНОСТИ И СОТРУДНИЧЕСТВУ В ЕВРОПЕ Центр ОБСЕ в Бишкеке |
| and | и |
| FULL LEGAL NAME OF CONTRACTOR (if applicable, d/b/a name and/or English translation) | ПОЛНОЕ ЮРИДИЧЕСКОЕ НАЗВАНИЕ ПОСТАВЩИКА (если применимо, действующий как «Название», или английский перевод) |
| for | на |
| DELIVERY: Lot 1: Polymeric pipes for pressure water supply from PE-100 State Standard 18599-2001 Lot 2:Armature А III12 mm | ПОСТАВКУ: Лот 1:Трубы полимерные для напорного водоснабжения из ПЭ-100 ГОСТ 18599-2001 Лот 2: Арматура А III диам 12мм |
| The Contract comprises _____() pages of text | Данный Договор состоит из ____ () страниц текста |
| This Contract (the “Contract”) is made between the | Данный Договор (в дальнейшем «Договор» заключен между |
| Organization for Security and Co-operation in Europe (the “OSCE”) OSCE Centre in Bishkek , located at 139 Toktogula Street, Bishkek, Kyrgyzstan . | Организацией по Безопасности и сотрудничеству в Европе (в дальнейшем «ОБСЕ») Центр ОБСЕ в Бишкеке , находящейся по адресу улица Токтогула 139, Бишкек,, Кыргызстан. |
| Full Legal Name of Contractor (and if applicable, d/b/a name and/or English translation) (the “Contractor”), having its registered address at Street Address, Postal Code and City, Full Country Name, of the second part, | Полное юридическое название поставщика (если применимо, действующий как «Название», или английский перевод) (в дальнейшем «Поставщик»), находящийся по адресу улица, дом, город, полное название страны, с другой стороны, |
| each referred to separately as a “Party” and jointly as the “Parties.” | каждая в отдельности именуемая «Сторона» и вместе «Стороны». |
| WHEREAS: | О НИЖЕСЛЕДУЮЩЕМ: |
| - The OSCE Centre in Bishkek wishes to engage a contractor for delivery of - Polymeric pipes for pressure water supply from PE-100 State Standard 18599-2001 - Armature | - Центр ОБСЕ в Бишкеке хочет нанять Поставщика на поставку : - Труб полимерных для напорного водоснабжения из ПЭ-100 ГОСТ 18599-2001 - Арматуры А III диам 12мм. |
| - With this aim, 27 March 2013 the OSCE Centre in Bishkek issued, ITB No. 02-2013 (the “Solicitation Document”); | - С этой целью 27 Марта 2013 года ОБСЕ выпустила Запрос предложений ITB No.02-2013 (в дальнейшем «Тендерная документация»); |
| - In response to the Solicitation Document, Full Legal Name of Contractor submitted a bid dated Date Month Year (the “Offer”); | - В ответ на Тендерную документацию Полное юридическое название поставщика подал заявку от такого-то числа такого-то месяца такого-то года (в дальнейшем «Предложение»); |
| - On the basis of the Solicitation Document and the Offer the OSCE Centre in Bishkek and Full Legal Name of Contractor have come to a common understanding of the scope, price and other relevant aspects of the Deliverables to be provided; and | - На основании Тендерной документации и Предложения ОБСЕ Центр ОБСЕ в Бишкеке и Полное юридическое название Поставщика пришли к общему пониманию объема, цены и прочих важных аспектов предоставляемых Товаров; и |
| - Full Legal Name of Contractor has reconfirmed that it possesses the required knowledge, capacities, skills, facilities and personnel to provide the Deliverables in accordance with, and to enter into, the Contract. | - Полное юридическое название Поставщика подтвердил, что он владеет необходимыми знаниями, техническими возможностями, навыками, оборудованием и персоналом, необходимыми для предоставления Товаров согласно и для заключения Контракта. |
| NOW, THEREFORE, the Parties conclude this Contract as follows: | СЛЕДОВАТЕЛЬНО, Стороны заключили этот Договор о нижеследующем: |
| 1. Definitions | 1. Определение терминов |
| Throughout this Contract, unless the context requires otherwise, words and terms used in the GCC shall be modified or supplemented as follows: | Повсеместно в данном Договоре, если только контекст не определяет иное, слова и термины, употребляемые в Общих условиях Контракта, подлежат следующим изменениям и дополнениям: |
| - “Delivery Term” means DAP Isfana or DDP 20 Lesnaya street. Isfana, KR(INCOTERMS 2010). | - «Условия поставки» означают DAP Исфана или DDP ул. Лесная 20, Исфана, КР (ИНКОТЕРМС 2010). |
| - “Key Personnel” means not applicable. | - «Ключевой персонал» означает не применяется |
| - “Working Day” means any Day from Monday to Friday, excluding OSCE holidays but including national holidays that do not coincide with OSCE holidays; the Contractor will be advised of OSCE holidays in advance. | - «Рабочий день» означает любой День с понедельника по пятницы, исключая праздники ОБСЕ, но включая национальные праздники, которые не совпадают с праздниками ОБСЕ. Поставщику сообщат о праздниках ОБСЕ заранее. |
| 2. Effective Date and Duration | 2. Вступление в силу и срок |
| The Contract shall become effective since the signing of the parties unless terminated earlier, shall remain valid for a period of 90(ninety) days. | Договор вступает в силу с момента подписания сторон, если не будет прекращен ранее, остается действительным в течение 90 (девяноста) дней. |
| 3. Contract Documents and Order of Precedence | 3. Контрактные документы и порядок приоритетности |
| The Contractor has studied and is familiar with the documents comprising the Contract, all of which, whether attached or incorporated by way of reference, form an integral part. In the event of any discrepancy, the document to prevail shall be determined in the following order: | Поставщик изучил и ознакомился с документами, составляющими Договор, все из которых либо приложенные к данному Договору, либо внедренные в Договор при помощи ссылки, составляют его неотъемлемую часть. В случае любых расхождений порядок приоритетности документов определяется следующим образом: |
| - This Contract document; | - Данный Договор; |
| - The OSCE General Conditions of Contract (Goods), 2011 Rev. 2 (the “GCC”), available at www.osce.org/procurement, which are incorporated into this Contract by way of reference; | - Общие условия Контракта ОБСЕ (Товары ), 2011 Верс. 2 (в дальнейшем “ОУК”), с которыми можно ознакомиться на сайте www.osce.org/procurement, и которые внедрены в данный Договор при помощи ссылки; |
| - The Solicitation Document, which is incorporated into this Contract by way of reference; | - Тендерная документация, внедренная в данный Договор при помощи ссылки; |
| 5. Invoices and Payment | 5. Счета-фактуры и платеж |
| 5.1. Original invoices shall reference this Contract number and be sent to: | 5.1. Оригинальные счета-фактуры будут ссылаться на номер данного Договора и будут адресованы: |
| OSCE Centre in Bishkek Attn: 1181000300024895 Address: 139 Toktogula street Bishkek, Kyrgyzstan | Центр ОБСЕ в Бишкеке Р/С: 1181000300024895 Адрес: ул. Токтогула,139 Город Бишкек, Кыргызстан |
| 5.2. Payments shall be transferred from the following bank account of the OSCE Centre in Bishkek: | 5.2. Платежи будут перечислены со следующего банковского счета ОБСЕ: |
| Account Holder: OSCE Centre in Bishkek Name of Bank: Branch "DKIB - Chief" Account Number (EUR): 1181000300024895 BIC/IBAN: 118005 | Держатель счета: Центр ОБСЕ в Бишкеке Банк: Филиал « ДКИБ - Главный» Номер счета (евро): 1181000300024895 BIC/IBAN: 118005 |
| 5.3. Payments shall be transferred into the following bank account of the Contractor: | 5.3. Платежи будут перечислены на следующий банковский счет Поставщика: |
| Account Holder: complete Name of Bank: complete Address of Bank (optional): complete if necessary Account Number: complete BIC/IBAN: complete | Держатель счета: заполнить Банк: заполнить Адрес банка (по желанию): заполнить в случае необходимости Номер счета : заполнить BIC/IBAN: заполнить |
| 6. Notices and Authorized Persons | 6. Уведомления и уполномоченные лица |
| 6.1. All communications relating to potential changes to the terms and conditions of this Contract, including but not limited to those with a financial impact, shall be addressed in writing to the following contact persons, who shall be exclusively authorized to approve such changes: | 6.1. Весь обмен информацией, имеющий отношение к возможным изменениям терминов и условий данного Договора, включая, но не ограничиваясь изменения финансового характера, будут адресованы в письменном виде следующим контактным лицам, единолично уполномоченным утверждать такие изменения: |
| For the OSCE: | От имени ОБСЕ: |
| Mr. Uve Federsel, Chief of Fund Administration, OSCE Centre in Bishkek | Господин Уве Федерсель Начальника Финансово - Административного управления, Центр ОБСЕ в Бишкеке |
| For the Contractor: | От имени Поставщика: |
| Mr./Ms. Name of Focal Point, Title of Focal Point, Street Address, Postal Code and City, Full Country Name; Email: Specify; Fax: +(Country Code-City Code) Number; Phone: +(Country Code-City Code) Number. | Господин/Госпожа имя контактного лица, должность контактного лица, улица, дом, город, почтовый индекс, полное название страны; электронная почта: заполнить; факс: +(код страны-код города) телефон; тел.: +(код страны-код города) телефон. |
| 6.2. All questions concerning routine, day-to-day administration of this Contract shall be addressed in writing as follows: | 6.2. Все вопросы, касающиеся рутинного, повседневного администрирования данного Договора, будут адресоваться в письменном виде следующим контактным лицам: |
| For the OSCE: | От имени ОБСЕ: |
| Ms Yulia Minaeva, Economic Environmental Officer, OSCE Centre in Bishkek, Osh field office 139 Toktogula street Bishkek, Kyrgyzstan, Email: Yulia.minaeva@osce.org; Fax: +(996–3222) 5 05 65; Phone+(996–3222) 5 06 48 | Госпожа Юлия Минаева Советник по Экономическим и Экологическим вопросам, Центр ОБСЕ в г.Бишкек, Ошский офис ОБСЕ Ул., Токтогула 139, Бишкек, Кыргызстан эл. почта: Yulia.minaeva@osce.org; Факс: +(996–3222) 5 05 65; Телефон+(996–3222) 5 06 48 |
| For the Contractor: | От имени Поставщика: |
|  | . |
| [If applicable: The remainder of this page is intentionally left blank; signatures and seals follow.] | [Если применимо: Оставшаяся часть страницы намеренно пропущена: подписи и печати проставлены на следующей.] |

| IN WITNESS WHEREOF, the Parties have executed this Contract in 2 (two) originals. The English and Russian texts hereof shall be equally valid, except that in the event of any inconsistency the English text shall prevail. | В ПОДТВЕРЖДЕНИЕ ЧЕГО, Стороны заключили этот Договор в 2 (двух) экземплярах. Текст на английском и русском языках обладает одинаковой юридической силой за исключением расхождений, в случае чего английский текст имеет превосходство. |
| --- | --- |
| for the Contractor Signed and Sealed by ___________________________________ Name of Authorized Signatory, Title of Authorized Signatory | От имени Поставщика Подписано и скреплено печатью ___________________________________ ФИО уполномоченного подписанта, Должность |
| Street Address Postal Code and City Full Country Name | Улица, дом Город, почтовый индекс Полное название страны |
| ___________________________________ Date | ___________________________________ Дата |

| for the OSCE Centre in Bishkek Signed and Sealed by ___________________________________ Uve Federsel, Chief of Fund Administration | От имени Центра ОБСЕ в Бишкеке Подписано и скреплено печатью ___________________________________ Уве Федерсель Начальника Финансово– Административного управления, |
| --- | --- |
| 139 Toktogula str., Bishkek, Kyrgyzstan | Улица Токтогула 139, Бишкек, Кыргызстан |
| ___________________________________ Date | ___________________________________ Дата |